## Sheet1
Rated voltage | The total load |  | The 135-bus test system
| P | Q | substation | load buses
13.8 kV | 6.499 MW | 2.769 Mvar | 1 | 134
PV deployed on buses | [6 empty] | PV rated capacity
68 | 75 | 83 | 87 | 94 | 120 | 129 | 1 MW
The probabilities of wo future RESs installation situations
situation I | situation II
0.7 | 0.3
The candidate installation buses of situation I |  |  |  | The installation capacity cap of candidate bus
75 | 83 | 94 | 120 | 1 MW
The candidate installation buses of situation II |  |  |  | The installation capacity cap of candidate bus
68 | 83 | 87 | 129 | 1 MW
The number of typical days for planning | Converter module cap for one port | The number of ports can be deployed for an MSOP | AC/DC converter modules's capacity | The cost of AC/DC converter modules | The service period
4 | 4 | 4 | 500kVA | CNY 2000/kVA | 20 Years
The candidate installation buses for the MSOP ports
34 | 58 | 70 | 95 | 112 | 123 | 129
The battery module sizes for DES | The battery module sizes for ESoDC | The upper limit of the battery module for DES | The upper limit of the battery module for ESoDC
600kW | 1200kWh | 3 | 3
The candidate installation buses for DES
10 | 48 | 68 | 99 | 114 | 120
The number of DESs can be deployed in DN | The unit investment cost of DES | The unit investment cost of ESoDC | The service period
3 | CNY 3900/kW | CNY 3200/kW | 10 Years
The mean value of electricity price | The standard deviation of electricity price | The carbon trading price
CNY 0.68/kWh | CNY 0.093/kWh | CNY 70/tCO2eq
The minimum annual return on investment | The confidence level of profit constraints
14% | 90%